School Advice Note

Fire and Emergency Procedures

- Fire Safety is covered by the Regulatory Reform (Fire Safety) Order 2005. Under this legislation, schools should have in place:

  - A separate Fire Safety Policy;

  - A Fire Risk Assessment (looking at management and technical issues);

  - A fire logbook that records all fire practices and maintenance that is carried out on fire equipment etc;

  - A Fire Emergency Plan;

  - Suitably competent persons for the responsible person for managing fire safety and performing specific duties in relation to fire safety, e.g. Fire Marshalls/Wardens and undertaking statutory checks;

  - Regular fire safety awareness training for all staff.

  - Systems for statutory checks and inspections of fire safety equipment and signage.

- If a fire is discovered the Fire Brigade must be summoned and the alarm sounded, as appropriate, before tackling the blaze. Extinguishers must also be used by trained persons – the right type of extinguisher must be used, ensure that the exit does not become blocked; retreat after one extinguisher has been used.

- Staff and pupils must be familiar with the Fire and Emergency Procedures specific to their workplace/classroom, which should be posted at prominent locations.

- Safe Working Procedure – Fire Safety contains pages that can be photocopied and inserted into a schools fire logbook.

- Further advice can be found in the following publications:

  - Southampton City Council Safe Working Procedure – Fire Safety.

  - School Fire Precautions Risk Assessment (held in the School Fire Logbook).