School Advice Note

Electricity

- The Electricity at Work Regulations covers the Safe Use of Electricity at Work Regulations 1989, which apply to all places of work.  The Regulations are concerned with the safety of electrical equipment, electrical systems, electrical workers and their competence, and non-electrical workers where there is a risk of injury.

- The adequate maintenance including Portable Appliance Testing (PAT) of electrical systems and equipment is an important part of the legislation as well as the competence of persons who carry out electrical work.  Even simple electrical tasks can have serious consequences if they are not performed conscientiously by competent electricians.

- Further advice can be found in the following publications:

  - Southampton City Council Safe Working Procedure – Electrical Safety in the Workplace.