Southampton City Council

Fire Safety Plan

Fire Training

Premises

Date

Initial Induction Training

- Identifying the sound/visual warning given by the fire alarm.

- Walking escape routes.

- The location of the assembly point.

- The importance of commencing evacuation and reporting to the assembly point without delay.

- The identity of fire wardens.

- The importance of following instructions given by fire wardens during an evacuation.

Routine Training

- The contents of the Emergency Plan, including the actions to take when discovering a fire or hearing the alarm.

- How to raise the alarm of fire.

- The evacuation procedure

- The importance of fire doors and why they should not be wedged open.

- The identity of the manager with responsibilities for fire safety

- The identity of fire wardens.

- The identity of persons who will use fire extinguishers.(if applicable)

- The importance of good housekeeping practices and avoidance of allowing waste to accumulate.

Fire Warden

- The contents of the Fire and Emergency Plan.

- Detailed knowledge of the fire safety strategy.

- Awareness of human behaviour in fire.

- How to identify persons who require assistance to escape.

- How to encourage others to use escape routes in safety.

- How to sweep the building safely and how to identify areas that are unsafe to enter because of a developing fire situation.

- The safe use of fire extinguishers. (if applicable)