SECTION 4

PREAMBLE FOR THE STRUCTURAL SUPPORTS to CANTILEVERED BALCONIES

Clauses 4.1 – 4.11

4.1	GENERAL REQUIREMENTS

4.1.1	Before starting work examine all available information and carry out a survey of:

- structures or structures to be supported including levels

- the site on which the structure or structures loadings are to be taken

- the surrounding area including underground services.

Failure to do so may result in works being non-compliant with the expectations of the Framework.

4.1.2	Compile method statements describing:

- The location and condition of the site

- Proposed programme of work including sequencing and method

- Arrangement for protecting all personnel and the public

- Arrangement for control of site transport and traffic

- A site plan, indicating the location of the site compound, the extent of the enclosed area, transit routes and any site restrictions

4.1.3	The contractor will issue all regulatory notices.

4.1.4	All works for removing, transporting and disposal of materials must be fully in accordance with current legislation.

4.1.5	Where practicable, contaminated and uncontaminated wastes must be segregated and disposed of separately and appropriately

4.2 	METHOD STATEMENTS

4.2.1 Method Statements Generally

The successful Contractor should provide a detailed method statement with specifications or drawings showing details as follows:

  - Piling design and layout for review and comment by Structural Engineer;

  - Steel fabrication drawings for review and comment by Structural Engineer;

  - Site set-up plan

Total carried to Pricing Summary					£