School Advice Note

Slips, Trips and Falls

- Slips, trips & fall on the same level are the most frequent type of accidents for schools in Southampton. They can happen for a number of reasons, but all too frequently we jump to conclusions about why they happen rather than really looking for the true cause or, we decide that it is just one of those things and do nothing. The following should help you to understand, assess and record what causes a slip or trip and give you some ideas on what you can do to stop accidents from happening again. What you may find is that there are a number of options open to you that are quite straightforward and relatively easy to implement:

  - The floor in a workplace must be suitable for the type of work activity that will be taking place on it;

  - Where a floor can't be kept dry, people should be able to walk on the floor without fear of a slip despite any contamination that may be on it;

  - The floor must be fitted correctly to ensure that there are no trip hazards and to ensure that non slip coatings are correctly applied;

  - The floor must be maintained in good order to ensure that there are no trip hazards e.g. holes, uneven surfaces, curled up carpet edges;

  - Ramps, raised platforms and other changes of level should be avoided, if they can’t they must be highlighted;

  - Most floors only become slippery once they become contaminated. Prevent contamination and you reduce or even eliminate the slip risk.

- Contamination can be classed as anything that ends up on a floor e.g. rainwater, oil, grease, cardboard, product wrapping, dust etc. the list is endless. It can be a by-product of a work process or be due to adverse weather conditions. First think about whether you can eliminate the problem, e.g.

  - Fit effective canopies to external entranceways to stop rainwater from entering school buildings;

  - Fix leaking machines;

  - Change the system of work;

  - If not, can the contamination be controlled e.g.: drip trays for leaks, lids on cups and containers, good sized mats at building entrances to dry feet;

  - Cleaning affects every workplace, nowhere is exempt.

- It is not just a subject for cleaning managers and staff; everyone in the workplace has a job to do e.g. keeping your workspace clear; and dealing with your own spillages.

- The process of cleaning can create slip and trip hazards, especially for those entering the area being cleaned, such as the cleaners, for example, smooth floors left damp by a mop are likely to be extremely slippery and trailing wires from a vacuum or buffing machine can present a trip hazard.

- Further advice can be found in the following publications:

  - HSE Guidance – Microsite Slips and Trips

  - SCC Document: SWP – Arrangement for Managing Health and Safety

  - SCC Document: SWP – Personal Protective Equipment (PPE)

  - SCC Document: SWP – Workplace Health, Safety and Welfare